L1T DQM Status
J. Pela, P. Musella
LIP Lisbon

---
Purpose of the L1T DQM
- Provide online/offline monitoring of the Level 1 trigger
  - Spot possible problems
  - Help diagnose reasons for issues
  - Ensure quality of the L1T operation
- Data certification
  - Provide handles to monitor data quality
  - Return a global flag for data quality LS-by-LS for the L1T

---
Tools
- L1TRate
  - Monitors L1 Trigger Rate and compares with expectation from WbM fits
- L1TSync
  - Monitors L1 Trigger Synchronization by comparison with the LHC Bunch Structure
- L1TOccupancy
  - Monitor occupancy plots to spot hot towers or dead channels
- L1TTestsSummary
  - Summarizes all tests above.

---
Status and Plans
- All tools have are online now.
- L1TOcupancy and L1TTestsSummary have been available since the beginning of the ion run but on “commisioning” mode.
- New developments on L1TSync underway, should be finished soon
  - Use calo trigger to monitor mu triggers and vice-versa instead of using L1 Pass Troughs.

---
L1TRates
- Monitors L1 rates from Lowest Unprescaled Single Object Triggers
- Running for several months now.
- Used frequently for online diagnosis and certification
- Every LS outputs observed rate over expected (from fit) for the current instantaneous luminosity
More information

---
L1TSync
- Monitors L1 Synchronization for Lowest Unprescaled Single Object Triggers
- Running for several months now.
- Used frequently for online diagnosis and certification
- Effort being done to get more statistics in a unbiased way without depending on L1 Pass Throughs
- Every LS Block outputs fraction of in time (compared with LHC Bunch Structure) triggers
More Information

---
L1TOccupancy
- Online for a few week.
- Monitors occupancy of predefined plots
- To be fully functional needs:
  - Calo plots to implement min Pt on their trigger primitives
  - Mu plots that have absolute trigger primitive counts
- Every LS Block outputs fraction of bins that are not masked and fail the test.
More Information

---
L1TTestsSummary
- Online for a few week.
- Summarizes all tests preformed in L1TRate, L1TSync (and in the future L1TOccupancy)
- Allows to spot problems by looking at a single plot
- Every LS outputs the status of all tests and merges them into a single quality flag

---
Implementation Offline
- L1TRate
  - Requires saving Monitored trigger rate every LS
- L1TSync
  - Requires saving number of triggers on/out-of time per LS
  - Requires Central DQM providing block certification capability in the offline environment
- L1TOccupancy
  - Requires saving differential snapshots of the monitored plots every LS
  - Requires Central DQM providing block certification capability in the offline environment
- L1TTestsSummary
  - Must be run after all other tests are finished.

---
Conclusions
- All foreseen tools for the L1T online DQM are implemented and currently running online. But still some things to be done:
  - Remove the dependence of L1 Pass Troughs for L1TSync
  - Make monitored trigger selection capable to recognize BPTX AND triggers. (Ion Runs)
- For this tools to get to their full potential some action is required by the sub-systems
  - Some plots need to be produced differently (i.e normalization) by the mu sub-systems
  - Calo systems filling their plots with primitives above a given threshold.